�


Electric


Force


Measurement


Unit 8/35 Garden Road,


Clayton, Victoria. 3168


Tel. 03 9 558 5741


Fax. 03 9 558 5741


Email:EFM@hotkey.net.au


Proprietor: Statall Pty. Ltd.


A.C.N. 005 464 371





EFM  AIRCRAFT  WEIGHING  PLATFORM  SETS.


General  Specifications





The EFM Aircraft weighing platform set consists of three load cell weighing platforms and a three channel indicator. The A2000, A3000, and A10,000 are approved for civil aircraft weighing under ANO 100.7.  Calibration sheets are supplied.





Rated Capacities:                         2000kg. per platform, x 1 kg.


                                                    3000kg. per platform, x 1 kg.


                                                    10,000kg. per platform, x 1 kg.


                                                    20,000kg. per platform, x 10 kg.





Accuracy:                                   ±0.1% of full scale, from 0o C to 40 o C.





Repeatability, hysterisis and


Non-linearity                               All below .05% of full scale.


Creep (20 minute test):                Be1ow . 05% of full scale.


Overload Capacity:                     50% over rated capacity.


Side Load Sensitivity                  Typically 1% of vertical sensitivity.


Maximum Out Of Level Tolerance         +2o,


Supply Voltage:                          230v. to 250v., 50 cycle.


                                                   or 115v. to 125v., 60 cycle.


                                                   or 12v. D.C., as specified.


Environmental:                          The platforms are protected against


                                                  atmospheric moisture, and the indicator


                                                  is drip proof.





Set Components:                        3 x platforms, with 20'


                                                  of cable and plugs.


                                                  1 x 3 channel, 4 indicator, Part


                                                  No. LC7-1


Limitation s on load position:    No more than 70% of rated load is to be


                                                  placed on the edge of the platform.


Dimensions:                              A2000 : 12" x 14" x 2.75"  (Approx  8 kg.)


                                                  A3000 : 15" x 15" x 2.94"  (Approx  10 kg.)


                                                  A10,000 : 24" x 24" x 3.5"  (Approx  30 kg.)


                                                  A20,000 : 38" x 38" x 5"  (Approx  85 kg.)








